## Slide 1: Open-Source toolchain to support building energy systems from digital planning to optimal operation
Fabian Wüllhorst and David Jansen

## Slide 2: Motivation Integral planning of buildings and their energy systems gets increasingly complex
Buildings account for 16 % of global emissions
Construction rate is low due to high costs
Renewable energies lead to complex interactions
1
2
3
4
5
6-9
Waterfall planning
1
2
3
4
5
6-9
Integral planning
Integral planning of architecture, electrical systems, heating/cooling systems, etc. using BIM-based digital tools
Optimize emissions and costs during planning and operation

## Slide 3: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 4: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 5: Workflow of the open-source bim2sim tool
Plugin System
  Enables simple extension for new environments
Workflows
  Combines plugin-spanning settings
Playground
  Enables the definition of tasks that need to be processed
Tasks
  Loading IFC data
  Simplification of topology
  Enrichment of data
Attribute system
  Core concept for processing non-uniformly defined data in IFC
Decisions
  Uniform interface for querying ambiguities in IFC

## Slide 6: Automatic generation of simulation models based on IFC-Data provides direct feedback to planners
Quellen: FZK-Haus (IFC4): Institut für Automation und angewandte Information / Karlsruher Institut für Technologie, FZK-Haus (IDF): BIM2SIM-Projekt,
IFC-Viewer: BIMvision, IDF-Viewer: OpenStudio V2.9.0
Thermal Zones
Boundary Conditions
Building design
EnergyPlus (IDF)
Energy System
Simulation
Direct
Feedback

## Slide 7: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 8: Generation of a building envelope models using open-source software
Tool |  | 
Visualization |  | 
Result |  | 
bim2sim[6] coupled to Blender[4] with Add-On Bonsai[5] via REST-API
3D-Model in IFC-Format with export to IDF
3D-Viewer
OpenStudio[7]
[4] Blender: https://www.blender.org/
[5] Bonsai: https://extensions.blender.org/add-ons/bonsai/
[6] bim2sim: https://github.com/BIM2SIM/bim2sim
[7] OpenStudio: https://openstudio.net/

## Slide 9: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 10: TEASER – Tool for Energy Analysis and Simulation for Efficient Retrofit
Workflow for parametric building envelope models
Automatic generation of dynamic building envelope models in AixLib
Based on various datasources (BIM, CityGML, TABULA, IWU, own data, etc.)
Open-source and on pypi: https://github.com/RWTH-EBC/TEASER

## Slide 11: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 12: Parametric Building Simulation using TEASER and AixLib
Model is a reduction of the building to a thermal network of capacitances and resistances
Model built according to VDI 6007 standard
Part of the EBC's AixLib Library
Advantage: Computes very quickly
Validated according to ASHRAE 140 and VDI 6007
Inner walls
Outer walls
Indoor heat exchange
Indoor air

## Slide 13: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 14: Mathematical optimization of energy system using Python and gurobi
Select energy system from various options
  Heat pump, Chillers
  CHP, Boiler
  PV, Battery
  …
Design the energy systems with interactions to building envelope design
Usage of clustered dynamic input data
Consideration of various boundary conditions
  Subsidies
  Law requirements
  Availability of craftworkers
Technology Choices and Design
Optimal
Insulation
Building and Energy System Interactions
Technical Data
User Behaviour
Inputs
Economics
Buildings
Optimization Model
Weather

## Slide 15: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 16: Detailed dynamic operation using BESMod, a Modelica Library for Building Energy System Modules
Coupled, detailed, dynamic simulation of building energy systems
Easy state-of-the-art parameterization
Based on: IBPSA, AixLib, TEASER
Electrical
Transfer
Generation
Distribution
Local
Control
Supervisory
Control
User
Weather
Information signal
Water
Thermal
Moist air
Legend:
Inflow
Outflow
(Design direction)
Electrical
Hydraulic
Transfer
Generation
Distribution
Local
Control
Parameter Study
System Parameters
Building
envelope
Ventilation
Distribution
Local
Control
Generation
DHW

## Slide 17: Approach for digital, integral planning of building and energy system using software tools from EBC
EBCpy&VCLibPy
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai

## Slide 18: AixWeather provides weather data in all formats required for simulation and optimization
Get weather data for simulations
WebApp / Python (on pypi)
https://github.com/RWTH-EBC/AixWeather
https://aixweather.eonerc.rwth-aachen.de/

## Slide 19: Approach for digital, integral planning of building and energy system using software tools from EBC
Planning Phase
1
2
3
4
5
6-9
Building
Energy System
ModelicaPyCI MoCITempGen
Blender+ Bonsai
EBCpy&VCLibPy

## Slide 20: Couple operation using software agents and open-source IoT platforms
Run simulations or services in real-time or in debug mode (fast)
Separate function from communication with modular agents
Reuse code
Quickly build applications with modules
  FMUs
  Digital Twins
  MQTT
  MPC with AgentLib-MPC plugin
Coupled to FIWARE Platform (IoT) using FiLiP (FIWARE library in Python)

## Slide 21: Challenges and future work
Separation of software
  useful to avoid dependencies
  makes development of single repository straight forward
  Challenging, as various interdependencies have to be considered
Tool development as researches
  Challenging, as funding favors new tools instead of maintenance of established tools, e.g. TEASER or AixLib
  Challenging, as life cycle of researchers is ~5 years
Future Work of software development team
  coordinate development of tools
  guides new researchers with good code standards
Come meet our software developer team in the poster session

## Slide 23: VCLibPy - Vapor Compression Library in Python
Steady-state vapor compression calculations
Performance-map generation

## Slide 24: AixCaliBuHA – Aix Calibration for Building and HVAC Systems
Type: PyPI package
Use case: Automated calibration of dynamic black-box simulation models
Based on: ebcpy

## Slide 25: EBCPy – EBCPython package (=ModelicaSimulationPy)
Type: PyPI package
Use case: Python Scripts to automate/optimize/analyze simulation models