## Slide 1
Task 9.3 Progress @
13th iFAST WP9 meeting – HZB, 02 December 2024
Liquid Tin Diffusion system progress
Davide Ford – INFN Legnaro National Laboratories

## Slide 2: First tests of the LTD system
Upper part of Nb chamber at 600 °C

## Slide 3: Problems and delays…
Only 600 °C reached (target T ≥ 1100 °C)
Extensive indipendent testing done resulting in generators being severely underpower.
Initial company simulations not consistent with experimental results.
Company already contacted (06/24) and still waiting for new generators (double the power) to be manufactured and tested by them.
Expected to have a full test with a 6 kW generator within end of december.

## Slide 4: New FE-SEM arrived!

## Slide 5
Thanks for your attention
davide.ford@lnl.infn.it