## Slide 1
The Astrophysical 140Ce(n,γ)141Ce Reaction: Present and Future
Moshe Friedman
The Hebrew University of Jerusalem
Nuclear Physics in Astrophysics XI
09/17/2024, Dresden, Germany

## Slide 2
Motivation
S. Amaducci et al., PRL 132 (2024)
Talk by C. D. Pardo (yesterday)
Poster #113 by R. N. Sahoo

## Slide 3
The 7Li(p,n) Reaction as a Quasi-Stellar Neutron Source
W. Ratynski, F. Käppeler, PRC 37 (1988)
M. Heil et al., PRC 77 (2008)
Ep = 1912 keV
Ip = 100 µA
109 neutrons/s (compared to ~106 n/s at n_TOF EAR2)

## Slide 4
The Liquid-Lithium Target (LiLiT)
SARAF Phase I
Ip = 1-2 mA
1010 neutrons/s
S. Halfon et al., RSI 85 (2014)

## Slide 5
The Liquid-Lithium Target (LiLiT)

## Slide 6
natCe(n,γ) measurement at SARAF
R. N. Sahoo et al., PRC 109 (2024)

## Slide 7
Results
[1] F. Käppeler et al. PRC 53 (1996)
Two new measurements recently reported
n_TOF (Amaducci et al. PRL 2024)
  High energy resolution
  Resonances extracted between 1-65 keV
  JENDL and reasonable assumptions were used with the experimental data to calculate MACS values.
Activation (R. N. Sahoo et al., PRC 2024)
  Integral measurement at kT ≈ 35 keV
  Extrapolation to other energies using xs libraries.
Measured MACS (mb) |  | 
 | kT = 10 keV | kT = 30 keV
KADoNiS0.3 | 19.5 | 11.0(4) [1]
Amaducci | 25.26(0.25) | 13.15(0.39)
Sahoo | 14.8 | 9.7(5)
Relevant temperature range kT ≈ 8-35 keV
Could unknown systematics in either (or both) neutron Time-of-Flight or activation techniques be the reason for this discrepancy?

## Slide 8
How the extrapolation is done?

## Slide 9
The 18O(p,n) Reaction as a Quasi-Stellar Neutron Source
Ep = 2582 keV
Ip = 100 µA
~ 105 neutrons/s
(compared to ~106 n/s at n_TOF EAR2)
M. Heil et al., PRC 71 (2005)

## Slide 10
Measuring the 140Ce(n,γ)141Ce Cross Section at kT = 8 keV
Ta218O5
Ta Target backing
Proton beam Ep = 2585 keV
50 mm
0.75 mm
Au
Ce
neutrons
20 mm
6Li-glass
Proposed experiment (ChETEC-INFRA):
Facility - PTB (Braunschweig, Germany)
Ep = 2585 keV
Ip = 5 µA
~ 104 neutrons/s
141Ce (t1/2 = 32.5 d) will be measured via its 145.4 keV γ at the Hebrew University

## Slide 11
Measuring the 145.4 keV γ from 141Ce
Background spectrum – HPGe @ HUJI
235U (143.8 keV)
Expected signal
(4 weeks of decay measurement)
Estimation based on ENDF8 (low limit)

## Slide 12
Summary
140Ce s-process abundances are underestimated by calculations.
We have contradicting measurements of the 140Ce(n,γ)141Ce cross sections at the temperature range of 8-35 keV.
Extrapolation procedures of n-TOF and activation measurements may be the origin of part of this discrepancy.
A new measurement is planned at PTB to measure this cross section at 8 keV by means of activation, allowing a direct comparison between the different experimental methods.

## Slide 13
Thanks for listening!